# Extracted Document Content

Here are the extracted tables from the document:

**Table 1: Approvals (Page 1)**

| APPROVED BY:      | DATE: |

| :---------------- | :---- |

| AT&T RF ENGINEER: |       |

| AT&T OPERATIONS:  |       |

| SAQ MANAGER:      |       |

| PROJECT MANAGER:  |       |

| ZONING VENDOR:    |       |

| LEASING VENDOR:   |       |

| ZONING MANAGER:   |       |

| PROPERTY OWNER:   |       |

**Table 2: Sheet Index (Page 1)**

| SHEET | DESCRIPTION           | REV |

| :---- | :-------------------- | :-: |

| T-1   | TITLE SHEET           | A   |

| LS-1  | TOPOGRAPHIC SURVEY    | 1   |

| A-1   | SITE PLAN             | A   |

| A-1.1 | ENLARGED SITE PLAN    | A   |

| A-2   | EQUIPMENT PLAN        | A   |

| A-3   | ANTENNA PLAN AND SCHEDULE | A   |

| A-4   | ELEVATIONS            | A   |

**Table 3: Zoning Drawings Submittals (Page 1, 3, 4, 5, 6, 7)**

| REV | DATE     | DESCRIPTION        |

| :-: | :------- | :----------------- |

| A   | 03/25/25 | 90% ZONING DRAWINGS |

**Table 4: Site Information (Page 1)**

| PROPERTY OWNER:      |                                   | TOWER OWNER:        |                             |

| :------------------- | :-------------------------------- | :------------------ | :-------------------------- |

| ADDRESS:             |                                   | ADDRESS:            |                             |

| COUNTY:              | SAN DIEGO COUNTY                  | TOWER CO SITE ID:   |                             |

| ZONING JURISDICTION: | SAN DIEGO                         | TOWER APP NUMBER:   |                             |

| ZONING DISTRICT:     | GENERAL COMMERCIAL                | LATITUDE (NAD 83):  | 32.807196°                  |

| PARCEL NUMBER:       | 484-294-33 & 34                   | LONGITUDE (NAD 83): | -116.947729°                |

| OCCUPANCY GROUP:     | U                                 |                     |                             |

| CONSTRUCTION TYPE:   | II-B                              |                     |                             |

| POWER COMPANY:       | SDG&E                             |                     |                             |

| TELEPHONE COMPANY:   | AT&T                              |                     |                             |

| EQUIP. LEASE AREA:   | 408 S.F.                          |                     |                             |

| ANT. LEASE AREA:     | 452 S.F.                          |                     |                             |

| TOT. LEASE AREA:     | 860 S.F.                          |                     |                             |

**Table 5: Project Team (Page 1)**

| PROJECT MANAGER:           | SITE ACQUISITION:            | A&E CONTACT:                 | CONSTRUCTION:              |

| :------------------------- | :--------------------------- | :--------------------------- | :------------------------- |

| AT&T                       | EUKON GROUP                  | EUKON GROUP                  | AT&T                       |

| 1452 EDINGER AVE, 3RD FLOOR | 65 POST, SUITE 1000          | 65 POST, SUITE 1000          | 1452 EDINGER AVE, 3RD FLOOR |

| TUSTIN, CA 92780           | IRVINE, CA 92618             | IRVINE, CA 92618             | TUSTIN, CA 92780           |

| CONTACT: TY LOGAN-BURKS    | CONTACT: JON SILVA           | CONTACT: RICH BRUNET         | CONTACT: DAVID TOVLIN      |

| PHONE: (925) 549-4671      | PHONE: (714) 393-7963        | PHONE: (949) 899-5597        | PHONE: (562) 243-5168      |

| EMAIL: t1784a@att.com      | EMAIL: jon.silvia@eukongroup.com | EMAIL: rich.brunet@eukongroup.com | EMAIL: dt2777@att.com      |

|                            |                              |                              |                            |

| RF ENGINEER:               | ZONING:                      |                              |                            |

| AT&T                       | EUKON GROUP                  |                              |                            |

| 5855 COPLEY DR             | 65 POST, SUITE 1000          |                              |                            |

| SAN DIEGO CA 92111         | IRVINE, CA 92618             |                              |                            |

| CONTACT: CRISTIAN SOTO     | CONTACT: DAVID ELLIOT        |                              |                            |

| PHONE: (858)361-8970       | PHONE: (805) 637-7407        |                              |                            |

| EMAIL: cs450g@att.com      | EMAIL: david.elliott@eukongroup.com |                              |                            |

**Table 6: Legends (Page 2)**

| Symbol | Description        | Symbol | Description        |

| :----- | :----------------- | :----- | :----------------- |

|        | CENTER LINE        | Π      | TOP OF TREE        |

|        | PROPERTY LINE      | TWP    | TOP OF WOOD POST   |

|        | EASEMENT LINE      | RE     | ROOF EDGE          |

|        | CMU WALL           | σ      | UTILITY POLE       |

|        | VINYL FENCE        |        |                    |

|        | EP EDGE OF PAVEMENT |        | PALM TREE          |

|        | EG EXISTING GRADE  |        |                    |

|        | FS FINISH SURFACE  |        | TREE               |

|        | FL FLOW LINE       |        |                    |

|        | LP LIP OF GUTTER   |        | BUSH               |

|        | TC TOP OF CURB     |        |                    |

|        | TB TOP OF BUILDING |        |                    |

|        | TW TOP OF WALL     | MONUMENT | FD. CITY MONUMENT |

|        | TR TOP OF ROOF     |        |                    |

|        | TF TOP OF FENCE    |        |                    |

**Table 7: Antenna Schedule (VERIFY WITH CURRENT RFDS) (Page 6)**

| SYSTEM       | SECTOR | TECHNOLOGY | ANTENNA MODEL     | ANTENNA SIZE | ANTENNA AZIMUTH | RAD CENTER | CABLE LENGTH | TRANSMISSION CABLE QTY. |

| :----------- | :----- | :--------- | :---------------- | :----------- | :-------------- | :--------- | :----------- | :---------------------- |

| ALPHA SECTOR | A1     | LTE        | NNH4-65C-R6-V4    | 8'-0"        | 80°             | 30'-0"     |              |                         |

|              | A2     |            | FUTURE ANTENNA    |              |                 |            |              | 2 FIBER                 |

|              | A3     | C-BAND     | AIR6472 B77G B77M | 2'-7"        | 80°             | 30'-0"     |              | 6 DC POWER              |

|              | A4     | LTE        | NNH4-65C-R6-V4    | 8'-0"        | 80°             | 30'-0"     |              |                         |

| BETA SECTOR  | B1     | LTE        | NNH4-65C-R6-V4    | 8'-0"        | 190°            | 30'-0"     |              |                         |

|              | B2     | C-BAND     | AIR6472 B77G B77M | 2'-7"        | 190°            | 32'-9"     |              | 2 FIBER                 |

|              | B3     |            | FUTURE ANTENNA    |              |                 |            |              | 6 DC POWER              |

|              | B4     | LTE        | NNH4-65C-R6-V4    | 8'-0"        | 190°            | 30'-0"     |              |                         |

| GAMMA SECTOR | C1     | LTE        | NNH4-65C-R6-V4    | 8'-0"        | 280°            | 30'-0"     |              |                         |

|              | C2     |            | FUTURE ANTENNA    |              |                 |            |              | 2 FIBER                 |

|              | C3     | LTE        | NNH4-65C-R6-V4    | 8'-0"        | 280°            | 30'-0"     |              | 6 DC POWER              |

|              | C4     | C-BAND     | AIR6472 B77G B77M | 2'-7"        | 280°            | 30'-0"     |              |                         |

**Table 8: Remote Radio Unit Schedule (Page 6)**

| SYSTEM       | SECTOR | RRU TYPE                 | RRU LOCATION (DISTANCE FROM ANTENNA) | MINIMUM CLEARANCES |       |       |

| :----------- | :----- | :----------------------- | :----------------------------------- | :----------------- | :---- | :---- |

| ALPHA SECTOR |        |                          |                                      | ABOVE              | BELOW | SIDES |

|              | A1     | (1) 4890 B25/B66         | ±15'                                 | 16"                | 8"    | 0"    |

|              | A1     | (1) 4490 B5/B12          | ±15'                                 | 16"                | 8"    | 0"    |

|              | A2     |                          |                                      |                    |       |       |

|              | A2     |                          |                                      |                    |       |       |

|              | A3     | (1) AIR6472 B77G B77M    | ±15'                                 | 16"                | 8"    | 0"    |

|              | A3     | (2) ERICSSON RRU (LTE)   | ±15'                                 | 16"                | 8"    | 0"    |

|              | A4     | (1) 4494 FNET B14        | ±15'                                 | 16"                | 8"    | 0"    |

|              | A4     | (2) ERICSSON RRU (LTE)   | ±15'                                 | 16"                | 8"    | 0"    |

| BETA SECTOR  | B1     | (1) 4494 FNET B14        | ±15'                                 | 16"                | 8"    | 0"    |

|              | B1     | (2) ERICSSON RRU (LTE)   | ±15'                                 | 16"                | 8"    | 0"    |

|              | B2     |                          |                                      |                    |       |       |

|              | B2     |                          |                                      |                    |       |       |

|              | B3     | (1) AIR6472 B77G B77M    | ±15'                                 | 16"                | 8"    | 0"    |

|              | B3     | (2) ERICSSON RRU (LTE)   | ±15'                                 | 16"                | 8"    | 0"    |

|              | B4     | (1) 4890 B25/B66         | ±15'                                 | 16"                | 8"    | 0"    |

|              | B4     | (1) 4490 B5/B12          | ±15'                                 | 16"                | 8"    | 0"    |

| GAMMA SECTOR | C1     | (1) 4494 FNET B14        | ±15'                                 | 16"                | 8"    | 0"    |

|              | C1     | (2) ERICSSON RRU (LTE)   | ±15'                                 | 16"                | 8"    | 0"    |

|              | C2     |                          |                                      |                    |       |       |

|              | C2     |                          |                                      |                    |       |       |

|              | C3     | (1) 4890 B25/B66         | ±15'                                 | 16"                | 8"    | 0"    |

|              | C3     | (1) 4490 B5/B12          | ±15'                                 | 16"                | 8"    | 0"    |

|              | C4     | (1) AIR6472 B77G B77M    | ±15'                                 | 16"                | 8"    | 0"    |

|              | C4     | (2) ERICSSON RRU (LTE)   | ±15'                                 | 16"                | 8"    | 0"    |

**Table 9: Surge Suppression System Schedule (Page 6)**

| MFR.   | PART NUMBER        | QTY | LOCATION                            |

| :----- | :----------------- | :-: | :---------------------------------- |

| RAYCAP | DC50-48-60-96-50F  | 1   | MOUNTED ON PROPOSED W.U.C.        |

| RAYCAP | DC9-48-60-24-8C-EV | 6   | MOUNTED ON PROPOSED MONO BROAD LEAF |